## PRELIMINARIES
GENERAL CONDITIONS AND PRELIMINARIES ITEMS
S/N | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
GENERAL CONDITIONS AND PRELIMINARIRES PRELIMINAIRES ITEMS
A | Insurance of works and equipment
B | Temporary Storage
C | Temporary electric power and lighting
D | Protecting of works and work site
E | Progress report and photograph
F | Shelters for the workmen etc
G | Transport for work people
H | Maintenance of public and private roads
I | Equipment mobilization and demobilization
J | Temporary fencing and gates
K | First aid equipment and services
L | Site meeting and report
M | Telephones
N | Scaffolding
O | Watching and watchman's hut
P | Signboards
Q | Clear away rubbish
R | Concrete cube tests
S | Fire, polution and nuisance precaution
T | Prevention from storm and surface water
U | Site Accommodation
V | Temporary fence
| CARRIED TO GENERAL SUMMARY |  |  |  | 0

## FMC Lokoja Unprice
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED SUPPLY, REPAIRS, TESTING
AND COMMISSIONING OF OXYGEN PLANT AND
FITTINGS INSTALLATION WORKS AT
FEDERAL MEDICAL CENTRE, LOKOJA, KOGI STATE
FOR NATIONAL AGENCY FOR THE CONTROL OF AIDS (NACA)
INFORMATION
The contractor is hereby reminded of the
necessity to keep a qualified staff and duly
authorized by the principal on this work
as no variations would be entertained
COMPRESSOR (ATLAS COPCO GA 18)
A | Supply, replace and install oil filter/separator | 1 | No
B | Supply, replace and install Air Filter | 1 | No
C | Supply, drain and refill rotor Fluid | 20 | Litres
D | Supply, replace and install EWD 50 drain | 2 | No
E | Supply and replace unloader kit | 2 | No
F | Supply, replace and install unloader solenoid valve | 1 | No
CHILLER (MOTIVAIR-ECA 002/CSB-ESTR.50MT)
G | Supply, replace and install ECA 002/CSB-ESTR.50MT) Chiller unit or equal and approved equivalent. | 1 | No
OXYGEN GEN (AIRSEP CORPORATION AS-G 200))
H | Supply, replace and install Coalescing Filter | 1 | No
I | Supply, replace and install molecular sieves | 2 | Drums
J | Supply, replace and install Particulate Filter | 1 | No
K | Supply, replace and install pressure regulator | 1 | No
L | Supply, replace and install Waste valves | 2 | Nos
M | Supply, replace and install Feed valves | 2 | No
OXYGEN BOOSTER (2PS RIX INDUSTRIRES)
N | Supply, replace and install 2PS Rix Compressor | 2 | No
Rix industries or equal and approved equivalent.
MANIFOLD
O | Supply, replace and install Valves headers | 5 | No
P | Supply, replace and install Filling Nuts | 10 | No
Q | Supply, replace and install filling pig tail | 5 | No
R | Supply,replace and install pin index adapter | 3 | No
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
A | Allow for additional spare parts to be procured
and stored up for periodic maintenance of
oxygen plant to be expanded as directed by
| the Supervising Consultants. Provisional sum of #4,800,000.00 | 1 | Sum
B | Allow for testing the installation to the
| satisfaction of Consultants. | 1 | No
C | Allow for commissioning the installation to the
| satisfaction of Supervising Consultants | 1 | No
D | Allow for removal of all unused accessories
| and clean and clear the hospital | 1 | No
E | Prepare and training of dedicated staff for routine operation of the facility gas plant. | 3 | Mnths
To Collection
COLLECTION
PAGE 1
PAGE 2
Carried to General Summary
PROPOSED SUPPLY, REPAIRS, TESTING
AND COMMISSIONING OF OXYGEN PLANT AND
FITTINGS INSTALLATION WORKS AT
FEDERAL MEDICAL CENTRE, LOKOJA, KOGI STATE
FOR NATIONAL AGENCY FOR THE CONTROL OF AIDS (NACA)
GENERAL SUMMARY
General conditions and Preliminaries
Proposed Repair of Oxygen Plants
SUB-TOTAL
TOTAL TO FORM OF TENDER
NAME OF CONTRACTOR: ---------------------------------------------------------------------------------
ADDRESS:-------------------------------------------------------------------------------------------------------
COMPLETION PERIOD:-------------------------------------------------------------------------------------
SIGNATURE:----------------------------------------------------------------------------------------------------
DATE:--------------------------------------------------------------------------------------------------------------