## PRELIMINARIES
GENERAL CONDITIONS AND PRELIMINARIES ITEMS
S/N | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
GENERAL CONDITIONS AND PRELIMINARIRES PRELIMINAIRES ITEMS
A | Insurance of works and equipment
B | Temporary Storage
C | Temporary electric power and lighting
D | Protecting of works and work site
E | Progress report and photograph
F | Shelters for the workmen etc
G | Transport for work people
H | Maintenance of public and private roads
I | Equipment mobilization and demobilization
J | Temporary fencing and gates
K | First aid equipment and services
L | Site meeting and report
M | Telephones
N | Scaffolding
O | Watching and watchman's hut
P | Signboards
Q | Clear away rubbish
R | Concrete cube tests
S | Fire, polution and nuisance precaution
T | Prevention from storm and surface water
U | Site Accommodation
V | Temporary fence
| CARRIED TO GENERAL SUMMARY |  |  |  | 0

## NHA 1 Unprice
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED SUPPLY, REPAIRS, TESTING
AND COMMISSIONING OF OXYGEN PLANT AND
FITTINGS INSTALLATION WORKS AT
NATIONAL HOSPITAL ABUJA - 1 FOR NATIONAL
AGENCY FOR THE CONTROL OF AIDS (NACA)
INFORMATION
The contractor is hereby reminded of the
necessity to keep a qualified staff and duly
authorized by the principal on this work
as no variations would be entertained
COMPRESSOR (KAESER SK 40)
A | Supply, replace and install oil filter/separator | 1 | No
B | Supply, replace and install Air Filter | 1 | No
C | Supply, drain and refill sigma fluid | 20 | Litres
CHILLER (MOTIVAIR-ECA 002/CSB-ESTR.50.MT)
D | Overhaul and service existing Chiller | 1 | No
E | Gas Supply and refill | 40 | Kg
OXYGEN GEN (AS-G 280)
F | Supply, replace and install Coalescing Filter | 1 | No
G | Supply, replace and install molecular sieves | 2 | drums
H | Supply, replace and install Particulate Filter | 1 | No
I | Supply, replace and install feed Valve | 2 | Nos
J | Supply, replace and install waste valve | 2 | Nos
K | Supply, replace and install solenoid drain | 4 | Nos
OXYGEN BOOSTER (2V3B.4.1 RIX INDUSTRIES)
L | Supply and replace one set of 6 nos.O-rings | 1 | Set
M | Supply and replace one set of 6 nos.Compression Rings | 1 | Set
N | Supply and replace one set of 6 nos.Rider Rings | 1 | Set
O | Supply,drain and refill rix oil | 10 | Litres
P | Supply, replace and install piston assembly | 1 | No
MANIFOLD
Q | Supply, replace and install Valves headers | 5 | Nos
R | Supply, replace and install Filling Nuts | 5 | Nos
S | Supply, replace and install filling pig tails | 5 | Nos
T | Supply,replace and install pin index adapter | 3 | Nos
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
A | Allow for additional spare parts to be procured
and stored up for periodic maintenance of
oxygen plant to be expanded as directed by
| the Supervising Consultants. Provisional sum of #4,800,000.00 | 1 | Sum
B | Allow for testing the installation to the
| satisfaction of Consultants. | 1 | No
C | Allow for commissioning the installation to the
| satisfaction of Supervising Consultants | 1 | No
D | Allow for removal of all unused accessories
| and clean and clear the hospital | 1 | No
E | Prepare and training of dedicated staff for routine operation of the facility gas plant. | 3 | Mnths
To Collection
COLLECTION
PAGE 1
PAGE 2
Carried to General Summary
PROPOSED SUPPLY, REPAIRS, TESTING
AND COMMISSIONING OF OXYGEN PLANT AND
FITTINGS INSTALLATION WORKS AT
NATIONAL HOSPITAL ABUJA - 1 FOR NATIONAL
AGENCY FOR THE CONTROL OF AIDS (NACA)
GENERAL SUMMARY
General conditions and Preliminaries
Proposed Repair of Oxygen Plants
SUB-TOTAL
TOTAL TO FORM OF TENDER
NAME OF CONTRACTOR: -------------------------------------------------------------------------------------------
ADDRESS:-----------------------------------------------------------------------------------------------------------------
COMPLETION PERIOD:-----------------------------------------------------------------------------------------------
SIGNATURE:--------------------------------------------------------------------------------------------------------------
DATE:------------------------------------------------------------------------------------------------------------------------