## Imo
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
BILL Nr 1
1.1- PRELIMINARIES & GENERAL CONDITIONS The contractor is advised to visit the site and make all necessary cost allowances as may be desired for the complete execution of this project as it relates to the items listed below and any other items which he may have to carry out in other sections of work in this bill of quantities
GENERAL OBLIGATIONS AND FACILITIES
Scaffolding
A | Allow for the Contractor's scaffolding requirements for the work |  | sum
Site Administration and Security
B | Allowances here shall cover for the costs of Site Adinistrative Staff (Supervisor, Clerk, Store-Keeper, etc) and all Contractors' site security personnel required for the duration of the project |  | sum
Water for the Works
C | Allow for drilling of boreholes including the pump |  | sum
D | Lighting and Power for the Works |  | sum
electricity/ power requirements for the successful execution of the works
E | Safety, Health & Welfare Allow for the costs of providing all necessary safety gears for site workers and visitors alike (helments, boots, swimming jackets, eye goggles, gloves, ear protection gears etc); provision of medicaments (iodine, crape and ordinary bandages, hydrogen peroxide, analgesics, etc) in a first aid box; and such other facilities that are necessary for the welfare of the workforce, in the course of carrying out the Works |  | sum
Cleaning the Works, etc
F | Allow for the costs of ensuring that the site is regularly kept in a clean and tidy state through timely disposals of rubbish and other wastes generated by site activities for the duration of the works |  | sum
Progress Photographs
G | Allow for the providing 5 sets of 12 No. 10'' × 5" progress photographs to be submitted monthly during the course of the project (Hard and Electronic copies) |  | sum
Project Signboard
H | Allow for signboard to contain the name of the client, contractor and state departmental ministry |  | sum
H | Insurance Declaration: On signing the contract, the contractor shall obtain from his insurers and lodge with PM a declaration that insurance provided is strictly in accordance with the contract |  | Sum
| CARRIED TO GENERAL SUMMARY |  |  |  | 0
WAREHOUSE 1 REMEDIAL WORKS
1.17 SHEET ROOF COVERING
ALUMINUM ROOF COVERING
A | Allow the sum of ₦200,000.00 for the maintenance of leaking 0.75mm aluminum roof 6 meters above ground level. |  | sum | 200000 | 200000
FINISHING
EPOXY FLOOR FINISHING
B | Provide and place 2 coat epoxy floor finishing laid on existing concrete surface <600mm wide, level and to fall not exceeding 15% from the horizontal in an approved colour | 320 | m2 |  | 0
1.29 DECORATION
PAINTING (SATIN)
Supply and apply 2 coats of high quality satin painting to general surfaces of existing walls ˃300mm girth internally including all preparation of surfaces and screeding work on:
C | Warehouse | 372 | m2 |  | 0
D | Isolated Columns | 43 | m2 |  | 0
Externally
E | Warehouse | 341 | m2 |  | 0
CEILINGS (SUSPENDED)
600×600mm suspended accustic ceiling finishing 150-500mm deep on grid, over all height of suspension exceeding 5000mm in:
F | Internally | 390 | m2 |  | 0
1.11 INSITU CONCRETE AROUND FOUNDATION FOOT
G | Provide and place mass in-situ concrete C15 in horizontal work not exceeding 300mm thick, in structures ˃5% poured against earth around foundation of the warehouse 50mm thick | 8 | m3 |  | 0
PREPARATION
H | Prepare around the foot of the building to receive mass insitu concrete above | 150 | m2 |  | 0
Carried to summary
1.39 ELETRICAL SERVICES
AIR CONDITIONER
A | Terminal equipment and fittings 1hp (9000btu/h) window unit air conditioner, PANASONIC in high level complete with all necessary accessary for installation | 10 | Nr |  | 0
Lighting works
B | Allow the sum of ₦250,000.00 for the rectification of electrical system in the building including buying of bulbs and fittings |  | sum | 250000
EXTRACTOR FAN
C | Terminal equipment and fittings 8"heat extractor fan in high level complete with accessories and installation | 4 | Nr |  | 0
CEILING FAN
D | Terminal equipment and fittings high quality ceiling fan in high level suspended ceiling complete with pipe and regulator installation |  | nil
CABLE
E | 16mm insulated 4 core copper cables in containment buried 500mm below GL to supply power from generatorhouse to warehouse 1& 2, including excavation and backfilling | 40 | m |  | 0
F | Allow the sum of ₦150,000.00 for the supply of power from nearby power (disco) source to the pole in the compound and to generator house |  | sum | 150000
SOLAR LIGHTING
G | Supply, assembe and insatll 200w all in one LED street solar light this includes excavation, concrete base and all necessary installation as directed on site | 10 |  |  | 0
TEMPERATURE AND HUMIDITY EQUIPMENT
H | Supply and install digital combine temperature and humidity guage for the warehouse use. | 3 |  |  | 0
GENERATOR
J | Allow the sum of ₦250,000.00 for the repair of vandalised 250kva generating set |  | sum | 250000
Carried to summary
1.38 MECHANICAL SERVICES
SMOKE DETECTOR
A | Supply and install wired smoke detector fire alarm with dust reduction, dual led for 360-degree visibility to the warehouses in high level ceiling screwed. | 10 | Nr |  | 0
FIRE ALARM CONTROL PANELS
B | Supply and install C-Tech Smoke/ Fire Detector Panel with Conventional 2 Zone | 1 | Nr |  | 0
FIRE EXTINGUISHER
C | Provide 15kg ABC dry powder fire extinguisher and install. | 1 | Nr |  | 0
FORKLIFT
D | Supply, off load an assemble Electric forklift stacker with drum grabber and 1000kg capacity | 1 | Nr |  | 0
PIPE WORK
E | 25mm daimeter upvc pipe in trench to supply water to fire hose reel including excavation, back filling and make good surface. | 55 | m |  | 0
HOSE REEL
F | Supply and install fire hose reel as dircted including 1hp self priming electric water pump and cabinet box | 1 | Nr |  | 0
BORE HOLE
G | Allow the sum of ₦200,000.00 for the reactivation of existing borehole |  | sum | 200000
REFRIGERATORS
H | Supply and install thermocool SKD SC240 R6 show case refrigerator or equal and approve quality 240L capacity | 4 | Nr |  | 0
FREEZERS
I | Supply and install Haier Thermocool 719L Large chest freezers HTF-719R6 WHT or equal and approve as directed | 4 | Nr |  | 0
SOFTWARE
J | Supply and install software M-supply and train 1 staff on the use and management of the software | 1 | Nr |  | 0
Carried to summary
WAREHOUSE 1
SUMMARY
1 | REMEDIAL WORK |  |  |  | 0
2 | ELECTRICAL SERVICES |  |  |  | 0
4 | MECHANICAL SERVICES |  |  |  | 0
| TOTAL GENERAL CARRIED TO GENERAL SUMMARY |  |  |  | 0
WAREHOUSE 2 REMEDIAL WORKS
1.17 SHEET ROOF COVERING
ALUMINUM ROOF COVERING
A | Allow the sum of ₦100,000.00 for the maintenance of leaking 0.75mm aluminum roof 6 meters above ground level. |  | sum | 100000
FINISHING
EPOXY FLOOR FINISHING
B | Provide and place 2 coat epoxy floor finishing laid on existing concrete surface <600mm wide, level and to fall not exceeding 15% from the horizontal in an approved colour | 320 | m2 |  | 0
1.29 DECORATION
PAINTING (SATIN)
Supply and apply 2 coats of high quality satin painting to general surfaces of existing walls ˃300mm girth internally including all preparation of surfaces and screeding work on:
C | Warehouse | 372 | m2 |  | 0
D | Isolated Columns | 67 | m2 |  | 0
Externally
E | Warehouse | 341 | m2 |  | 0
CEILINGS (SUSPENDED)
600×600mm suspended accustic ceiling finishing 150-500mm deep on grid, over all height of suspension exceeding 5000mm in:
F | Internally | 390 | m2 |  | 0
Carried to summary
1.39 ELECTRICAL SERVICES
AIR CONDITIONER
A | Terminal equipment and fittings 2hp (18000btu/h) split unit air conditioner, PANASONIC CS-YV18UKD in high leve 4500mm complete with all necessary accessary for installation. | 10 | Nr |  | 0
Lighting works
B | Allow the sum of ₦50.000.00 for the rectification of electrical system in the building including buying of bulbs and fittings |  | sum | 50000
EXTRACTOR FAN
C | Terminal equipment and fittings 8'' heat extractor fan in high level complete with accessories and installation | 4 | Nr |  | 0
CEILING FAN
D | Terminal equipment and fittings high quality ceiling fan in high level suspended ceiling complet with pipe and regulator and installation. |  | nil
TEMPERATURE AND HUMIDITY EQUIPMENT
H | Supply and install digital combine temperature and humidity guage for the warehouse. | 4 |  |  | 0
Carried to summary
1.38 MECHANICAL SERVICES
SMOKE DETECTOR
A | Supply and install wired smoke detector fire alarm with dust reduction, dual led for 360-degree visibility to the warehouse in high level ceiling screwed. | 10 | Nr |  | 0
FIRE EXTINGUISHER
B | Provide 15kg ABC dry powder fire extinguishern and install | 1 | Nr |  | 0
PIPE WORK
C | 25mm diameter upvc pipe laid in trench to supply water to fire hose reel including excavation, backfilling and make good surfaces | 60 | m |  | 0
HOSE REEL
D | Supply and install fire hose reel as directed including 1hp self priming electric water pump and cabinet box. | 1 | Nr |  | 0
SHELVES (RACKS) AND PALLETS
PALLETS
E | Supply pre-fabricated plastic pallets for use in the warehouse | 30 | Nr |  | 0
| Carried to summary |  |  |  | 0
WAREHOUSE 2
SUMMARY
1 | REMEDIA WORK |  |  |  | 0
2 | ELECTRICAL SERVICES |  |  |  | 0
3 | SHELVES AND PALLETS |  |  |  | 0
| TOTAL CARRIED TO GENERAL SUMMARY |  |  |  | 0
OFFICES & CORRIDORS
REMEDIAL WORKS
1.17 SHEET ROOF COVERING
ALUMINUM ROOF COVERING
A | Allow the sum of ₦100,000.00 for the maintenance of leaking 0.75mm aluminum roof 6 meters above ground level. |  | sum | 100000
FINISHING
EPOXY FLOOR FINISHING
B | Provide and place 2 coat epoxy floor finishing laid on existing concrete surface <600mm wide, level and to fall not exceeding 15% from the horizontal in an approved colour | 98 | m2 |  | 0
1.29 DECORATION
PAINTING (SATIN)
Supply and apply 2 coats of high quality satin painting to general surfaces of existing walls ˃300mm girth internally including all preparation of surfaces and screeding work on:
C | Warehouse | 162 | m2 |  | 0
D | Externally | 90 | m2 |  | 0
E | Oil paint on burglary proof | 3 | m2 |  | 0
F | Ditto entrance gate | 25 | m2 |  | 0
CEILINGS (SUSPENDED)
600×600mm suspended accustic ceiling finishing 150-500mm deep on grid, over all height of suspension exceeding 5000mm in:
G | Internally | 98 | m2 |  | 0
Carried to summary
SECURITY HOUSE AND GATE
1.17 SHEET ROOF COVERING
ROOF COVERING
Aluminium roofing sheets
A | 0.55mm high quality long span aluminum roofing sheets in an approved color laid to fall on existing steel purlins with double side laps, 150mm minimum end laps, fix complete with nail and necessary accessories. | 25 | m2 |  | 0
B | Ditto ridge caps 600mm girth | 16 | m |  | 0
C | Ditto Claddy 600mm girth | 12 | m |  | 0
D | Ditto flashing 400mm girth | 18 | m |  | 0
E | Hollow block wall 230mm built on existing wall 3000mm above ground level and additional toilet works 1200x1500mm attached to existing wall in cement mortar as directed by the Engineer on site | 30 | m |  | 0
CARPENTARY
Slected well seasoned timber for roof timber works in:
F | 100x150mm wall plates | 13 | m |  | 0
G | 100x150mm Tie beams | 26 | m |  | 0
I | 100x150mm king post | 10 | m |  | 0
J | 75x150mm trusts | 24 | m |  | 0
K | 75x150mm rafters | 38 | m |  | 0
L | 50x75mm purlins | 46 | m |  | 0
M | 50x50mm noggins | 81 | m |  | 0
| Carried to summary |  |  |  | 0
1.28 FLOORS, WALLS, CEILINGS AND ROOF FINISHINGS
FLOOR FINISHINGS
A | Allow for cleaning , washing and shinning surfaces of existing terrazo floor finishing and make good any defects |  | Item | 5000
TILES
B | Provide and place 400x400mm verified floor tiles ,600mm thick at ground level in the offices including 24mm screed | 9 | m2 |  | 0
C | 400x400 non slip in toilet floor including 24mm screed | 2 | m2 |  | 0
D | 250x400mm on the wall backing | 16 | m2 |  | 0
WALL FINISHINGS
E | 12mm thick plastering finshing to wall, width > 600mm wide in straight wall 310mm above ground level at the cold room | 35 | m2 |  | 0
CEILINGS (SUSPENDED)
600×600mm suspended accustic ceiling finishing 150-500mm deep on grid, over all height of suspension exceeding 5000mm in:
F | Internally | 15 | m2 |  | 0
G | Externally | 13 | m2 |  | 0
1.24 DOORS,SHUTTERS AND HATCHES
DOORS
Supply and fix imported solid core HDF doors with keys and ironmongery including metal subframe on opening
H | 900x2100mm | 2 | Nr |  | 0
Windows
I | Provide and install aluminium sliding window 600x600mm including lintel works | 1 | Nr |  | 0
MAIN GATE
J | Allow for the welding of broken entrance main gate to the premises |  | sum | 250000
Carried to Collection
1.29 DECORATION
PAINTING
Supply and high quality satin painting, DULUX or equal to general surfaces of existing wall .300mm girth internally including all preparation of surfaces ( screeding) before pain work in;
A | Internally | 38 | m2 |  | 0
B | Externally | 40 | m2 |  | 0
| Carrried to collection |  |  |  | 0
COLLECTION
| Collection page 13 |  |  |  | 0
| Collection page 14 |  |  |  | 0
| Carried to Summary |  |  |  | 0
ELECTRICAL SERVICES & MECHANICAL SERVICES
C | Allow for the provision of cables in conduit, fittings and fixtures and power supply to security house. |  | sum | 150000
CEILING FAN
D | Terminal equipment and fittings high quality ceiling fan in high level suspended ceiling complete with regulator and installation | 1 | Nr
INSPECTION CHAMBERS
E | Construct, plaster and hutch inspection chamber + cover | 1 | Nr |  | 0
F | Allow for provision of soak away and all pipe works | 1 | Nr |  | 0
G | Provide and install water closet | 1 | Nr
H | Provide and install wash hand basin with pedestal at corridor | 1 | Nr |  | 0
| Carried to summary |  |  |  | 0
SUMMARY
1 | REMEDIAL WORKS |  |  |  | 0
2 | FINISHINGS, DOORS AND DECORATION |  |  |  | 0
3 | ELECTRICAL AND MECHANICAL SERVICES |  |  |  | 0
| TOTAL CARRIED TO GENERAL SUMMARY |  |  |  | 0
BILL NO. 2 : WAREHOUSE 3 & 4
CONSERVATION
1.4 ALTERATIONS REPAIRS AND CONSERVATION
Information
Nature and location of the work
GENERALLY
They are 4No. Medical stores to be worked upon. Store 3 & 4 are to be linked together as detailed in the drawings while 1 & 2 are to be renovated. The work in this section comprises of the removal of existing roofing sheet, introduction of steel stanchion to carry the roof trusses, increasing the existing headroom, fittings and fixtures, mechanical and electrical installations, finishings if any, it also includes the renovations of concrete and mansory elements
The contractor is advised to work with the consultants on the project and the management of the medical stores to evacuate and keep safe all the pharmaceutical drugs and chemicals before commencing any work
Allow for the careful removal of all the following and keep as directed;
A | Existing roofing sheet with and including roof truses and keep the trusses for reuse(450m2) |  | Item |  | 450000
B | Allow for removal of all fittings including all existing doors and windows and keep as directed |  | Sum |  | 100000
C | All mechanical and electrical installations |  | Sum |  | 50000
D | All wall finishings approx. (950sq.m) |  | Sum |  | 95000
E | Ceiling finishing (474sq.m) |  | Sum |  | 118500
F | Making good all areas affected by the action of removals |  | Sum |  | 100000
G | Pull down existing 230mm thick blockwall and keep for filling (325sq.m) |  | Item |  | 325000
H | Break existing 150mm thick concrete bed to pave way for new column bases (80sq.m) |  | Item |  | 52000
| ALTERATIONS, REPAIRS AND CONSERVATION CARRIED TO SUMMARY |  |  |  | 1290500
NEW WORKS
BILL NO. 2
ELEMENT NO. 1 - SUB STRUCTURE
ALL PROVISIONAL
Information
Nature and location of the work
The work in this section comprises: evacuations, concrete work, block work, earth filling; and all structural works up to and including ground floor slab and all associated works
1.5: Excavation and filling
Site Preparation
A | Excavate foundation trench to receive walls and drains not exceeding 2.00 metres deep, commencing at strip level, including all working spaces | 156 | m3 |  | 0
B | Excavate pit to receive column bases not exceeding 2.0 metres deep, commencing at strip level, including all working spaces | 69 | m3 |  | 0
C | Laterite filling to make up under floor well rammed and compacted in 150mm layer | 686 | m3 |  | 0
D | Backfiling around foundation and bases, deposited and well compacted in 150mm layers | 90 | m3 |  | 0
E | Disposal; excavated materials off site; exceeding 100mm and deposit, spread and level where directed | 135 | m3 |  | 0
Approved imported hardcore laterite filling
F | Level and compact bottom of excavation and bases to receive concrete | 680 | m2 |  | 0
G | 300mm imported hardcore (crushed rock laterite) filling in making up levels under building, deposited, watered and well compacted with eight passes of 8T roller | 274 | m3 |  | 0
H | Prepare and apply Dieldrex anti-termite solution or similar equal and approved treatment to surfaces of excavation | 920 | m2 |  | 0
Damp-proof membrane
J | One layer of 250micron damp proof membrane laid on hardcore and lapped at sides and ends | 915 | m2 |  | 0
| TO COLLECTION |  |  |  | 0
CONCRETE WORK
1.11: In situ concrete
In- situ concrete - 5N/mm2
1.11: In situ concrete
In- situ concrete - 5N/mm2
A | 50mm blinding bed under column bases | 3 | m3 |  | 0
B | 50mm blinding bed under bed | 46 | m3 |  | 0
STRUCTURAL REINFORCED CONCRETE
In-situ reinforced concrete - 15N/mm2
C | Coumn bases | 30 | m3 |  | 0
D | Stub columns | 10 | m3 |  | 0
E | Foundation base | 34 | m3 |  | 0
F | Ground beam | 17 | m3 |  | 0
G | 150mm horizontal bed / step | 137 | m3 |  | 0
1.11. 34: Reinforcement for in situ concrete
Round mild steel bar reinforcement to B.S. 4449, including all hooks, bends, distance blocks, trying wire etc.
H | 10mm - 20mm diameter bars | 10260 | kg |  | 0
J | Wire mesh | 878 | m2 |  | 0
1.11.13: Formwork for insitu concrete
Formwork class 'F1'''(Wrought hardwood)
K | Vertical sides column | 118 | m2 |  | 0
L | Vertical sides of bases thickness 350/500mm | 84 | m2 |  | 0
M | Vertical sides of ground beam | 72 | m2 |  | 0
N | Vertical edge of ground slab 150mm wide / steps | 120 | m |  | 0
1.14: Brick/Block walling
Sandcrete hollow blocks with cavities filled solid with concrete prescribed mix Grade 15 in plasticised cement mortar (1:3)
P | 225mm wall | 322 | m2 |  | 0
| TO COLLECTION |  |  |  | 0
COLLECTION
| Page 13 |  |  |  | 0
| Page 14 |  |  |  | 0
| SUB STRUCTURE CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO.2 - CONSTRUCTION OF REINFORCED CONCRETE FRAME STRUCTURE
1.11: In situ concrete
STRUCTURAL REINFORCED CONCRETE
In- situ reinforced concrete Mix "A'' - 15N/mm2
A | Column | 34 | m3 |  | 0
1.11.34: Reinforcement for in situ concrete
Round mild steel bar reinforcement to B.S. 4449, including all hooks, bends, ditance blocks, tying wire etc.
B | 10- 16 diameter bar | 6850 | kg |  | 0
1.11.13 : Formwork for in situ concrete
Formwork Class "F2" ( Sawn Hardcore)
C | Vertical sides of column | 470 | m2 |  | 0
1.15 : Structural steel framing
Fabricate stell work grade 43C; BS 4360 framed work Comprising stantion beams, fixing accessories etc to structural Engineers drawings
D | 250 ×250 x 8mm UB Stanchion | 156 | m |  | 0
E | 180 × 150 x 8mm UB beam | 120 | m |  | 0
Sundries
F | 300 ×350 × 25mm thick mild steel base plate with 4NO.27mm diameter holes and 25mm diameter black bolts 600mm long with nuts and washers | 16 | No |  | 0
G | 145 ×200 × 12mm thick stiffener plates | 16 | No |  | 0
H | 133 ×203 × 20mm thick mild steel plate welded to UB (measured seperately) with 6mm continuous fillet 6No. 16mm diameter hole for 6No. M14 Grade 8.8 bolts | 16 | No |  | 0
I | Holding down assembly comprising of 25mm diameter black bolts 500mm bent at end and fixed 76mm diameter tubes 325mm long; all gronted in concrete | 64 | No |  | 0
Painting
Prepare, rub down all rust mill scale and apply one undercoat of red oxide primer
J | Structured steelwork before erection | 244 | m |  | 0
| CONSTRUCTION OF REINFORCED CONCRETE FRAME CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO.03: UPPER FLOOR
1.11: In situ concrete
In - situ reinforced concrete Mix G15
A | 150mm thick slab | 23 | m3 |  | 0
B | Beam | 19 | m3 |  | 0
1.11.34: Reinforcement for in situ concrete
Round mild steel bar reinforcement to B.S. 4449, including all hooks, bends, distance blocks, tying wire
C | 10 -16 diameter | 7140 | kg |  | 0
1.11.13: Formwork for in situ concrete
Plain fair face formwork to;
D | Soffit of slabs | 157 | m2 |  | 0
E | Sides and soffit of beam | 188 | m2 |  | 0
F | Vertical edge of ground slab 150mm wide | 69 | m |  | 0
| FURNITURE, FITTINGS AND EQUIPMENT CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 4: SANDCRETE HOLLOW BLOCK WORK
GENERALLY
Scope
1.14: Brick/Block walling
Sandcrete hollow blocks in plasticised cement mortar (1:3)
A | 150mm wall | 67 | m2 |  | 0
B | 230mm wall | 1195 | m2 |  | 0
1.11: In situ concrete
Reinforced in situ concrete (1:2:4) in: Isolated beams
C | lintels/beams on walls; continuous beam | 16 | m3 |  | 0
1.11.13: Formwork for in situ concrete
Plain fair face formwork to;
D | lintels; sides/soffits | 204 | m2 |  | 0
1.11.34: Reinforcement for in situ concrete
High tensile deformed round bar reinforcement to BS 4449
E | 10 - 16mm diameter bar | 2080 | kg |  | 0
| SANDCRETE FOLLOW BLOCKWARE CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO.5 - ROOF STRUCTURE AND COVERING
1.11: In situ concrete
Reinforced in situ concrete (1:2:4) in: Isolated beams
A | Roof beams on walls; continuous beam | 8 | m3 |  | 0
1.11.13: Formwork for in situ concrete
Plain fair face formwork to;
B | Roof beam sides | 68 | m2 |  | 0
1.11.34: Reinforcement for in situ concrete
High tensile deformed round bar reinforcement to BS 4449
C | 10 - 16mm diameter bar | 1440 | kg |  | 0
1.15: Structural steel framing
Structural steelwork fabricated steelwork grade 43; BS 4360, work shop fabricated, site welded the following in 20No. Roof trusses spaning 28.80m with a rise of 7.260m
E | 150 × 150 × 8mm Rafters | 615 | m |  | 0
F | 75 × 75 × 6mm Angle welded to rafters | 489 | m |  | 0
G | 435 × 146 × 10mm Ridge plate welded to rafters (measured seperately) and 10 No. 22mm diameter holds to receive 20mm diameter HSFG bolts | 30 | No |  | 0
H | 12mm diameter High yield deformed bar as Anti-sag rod | 480 | m |  | 0
J | 70 × 70 × 7mm angle roof bracing | 96 | m |  | 0
K | C' Purlins size 100 x 75 4mm | 960 | m |  | 0
L | 135 × 75 × 8mm thick angle cleat 200mm Long | 300 | No |  | 0
Painting
Prepare, rub down all rust mill scale and apply one undercoat of red oxide primer
M | Structural steelwork before erection | 1104 | m |  | 0
1.17 SHEET ROOF COVERING
0.55mm coloured longspan deep Trough Profile Aluminium sheeting double lapped and fixed in accordance with the manufacturers instructions (measured nett)
N | Insulated Roofing sheet | 1100 | m2 |  | 0
P | Ditto: but without insulation; Fasia / External ceiling | 197 | m2 |  | 0
Q | Ridge cap 600mm girth | 35 | m |  | 0
| STRUCTURAL STEEL FRAMEWORK FOR ROOF STRUCTURE AND ROOF COVERING CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 6: STAIRCASE
1.11: In situ concrete
In-situ concrete -5N/mm2
A | 50mm blinding under staircase ground beam | 2 | m3 |  | 0
In-situ reinforced concrete Mix "A'' - 15N/mm2
B | Staircases | 5 | m3 |  | 0
1.11.34: Reinforcement for in situ concrete
High tensile deformed round bar reinforcement to BS 4449
C | 10 - 16mm diameter bar | 750 | kg |  | 0
1.11.13: Formwork for in situ concrete
Formwork class "F1" (Wrought hardcore)
D | Sloping soffit of staircase | 19 | m2 |  | 0
E | Soffit of landing | 7 | m2 |  | 0
F | Edge of landing not exceeding 300mm wide | 21 | m |  | 0
G | Riser of steps not exceeding 300mm wide | 45 | m |  | 0
H | Outer string of staircase not exceeding 300mm wide | 32 | m |  | 0
Steel; High impact nylon sleeve over continous 'corrosion resistant steel core balustrades to Architects' instructions
J | Balustrades and handrails
| 1200 high; comprising 40 diameter balusters at 1.20m centres plugged and screwed to concrete floors or teps, 40 diameter handrail and 10 thoughened glass infill panels with rounded corners and polished edges | 55 | m |  | 0
| STAIRCASE CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 7: DOORS AND WINDOWS
1.23:WINDOWS, SCREENS AND LIGHTS
Supply and fix the following gray coated glazed aluminium windows or similar approved complete with all 5mm thick glazing, ironmongery and fixing to concrete or blockware and pointing all round with approved mastic sealing compound in accordance with the manufacturers details
A | Curtain wall overall size 7400 × 2500mm high | 1 | No |  | 0
B | Casement window overall size 1500 × 100mm high in 2Nr. Vents | 6 | No |  | 0
C | Ditto; overall size 600 × 900mm high in 1Nr. Vent | 5 | No |  | 0
1.24 DOORS , SHUTTERS AND HATCHES
Purpose made outward opening ballistic resistant security steel door complete with steel frames and sub-frame with and including ironmongeries and other accessories
D | Double leaf door size 2000x2500mm high | 1 | No |  | 0
| Single leaf door size 1200x2400mm high | 1 | No |  | 0
42mm thick single action polished panel door, finished with 50x12mm solid hardwood sub-frame to side including timber frame rebated on both sides with and including mortise sash lock and lever, door stopper and overhead door closer on hinge side and panel all doors with 75x20mm wide moulded architrave (wrapped on both sides of door).
E | Single leaf door size 900x2100mm high | 7 | No |  | 0
F | Ditto; size 750×2100mm high | 5 | No |  | 0
| DOORS AND WINDOWS CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO.8 FINISHES
1.28 FLOORS, WALLS, CEILINGS AND ROOF FINISHINGS
FLOOR FINISHES
1.28.2: SAND CEMENT/CONCRETE/SCREEDS/TOPPINGS
A | 50mm thick; screded to receive epoxy finish | 762 | m2 |  | 0
B | 42mm thick; to receive floor tiles | 140 | m2 |  | 0
C | Supply and apply 2 coats of epoxy paints on power floated floor | 762 | m2 |  | 0
TERRAZZO FLOOR FINISHES
Insitu Terrazzo floor finishes in approved colour aggregate/chippings size laid on 25mm cement and sand base in bay 1500x1500mm divided with ebonite strip both side with and including polishing on complete
D | Floor; 25mm thick level and falls only to screeded in loading bay and entrance staircase | 80 | m2 |  | 0
E | Ditto skirting; internally; 100mm high | 21 | m |  | 0
Stone/Concrete/Quarry/CeramicTiling/Mosaic
Ceramic Tiling; Ceramic floor tiling in approve colour
patterned;fixing with approved adhesive; pointing
with matching grout including screeded backing ;
floors 400x400x8mm nominal size;
F | Tiling; internally; over 300mm wide in selected | 140 | m2 |  | 0
compartments.
G | Ditto skirting; internally; 100mm high | 89 | m |  | 0
WALL FINISHES
1.28.7: PLASTERED/RENDERED/ROUGHCAST COATINGS
Mortar, cement and sand (1:4): steel trowelled 12mm work to walls on concrete base or blockwork
H | Width exceeding 300mm wide | 1594 | m2 |  | 0
J | Ditto: not exceeding 300mm wide | 106 | m |  | 0
| TO COLLECTION |  |  |  | 0
EXTERNALLY
1.28.7: PLASTERED/RENDERED/ROUGHCAST COATINGS
Mortar, cement and sand (1:4): steel trowelled 12mm work to walls on concrete base or blockwork
A | Width exceeding 300mm wide | 975 | m2 |  | 0
B | Ditto: not exceeding 300mm wide | 67 | m |  | 0
INTERNALLY
1.28.7: PLASTERED/RENDERED/ROUGHCAST COATINGS
Mortar, cement and sand (1:4): steel trowelled 12mm work to walls on concrete base or blockwork
C | Width exceeding 300mm wide | 1510 | m2 |  | 0
D | Ditto: not exceeding 300mm wide | 127 | m |  | 0
E | Floating with POP Screed; Width exceeding 300mm wide | 1510 | m2 |  | 0
F | Ditto: not exceeding 300mm wide | 127 | m |  | 0
Screeded backing; 12mm thick; over 300mm wide
Walls
G | To receive ceramic tiles | 98 | m2 |  | 0
H | Surface n.e 300mm wide | 34 | m |  | 0
Stone/Concrete/Quarry/Ceramic Tiling/Mosaic
Ceramic Tiling;glazed cushioned edge 'spanish'
wall tiling 250x450x6mmthick nominal size; fixing
with cement and sand mortar; pointing with cement
on screeded backing (measured separately)
J | Walls | 98 | m2 |  | 0
K | Surface n.e 300mm wide | 34 | m |  | 0
CEILING FINISHES
L | Supply and install 8mm thick gypsum board an a metal or steel grid (included) at a spacing of 600 × 600mm centres on both side | 1105 | m2 |  | 0
| TO COLLECTION |  |  |  | 0
COLLECTION
| Page 21 |  |  |  | 0
| Page 22 |  |  |  | 0
| FINISHINGS CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO.9 PAINTING AND DECORATIONS
SURFACE FINISHES
INTERNALLY
1.29: PAINTING/ CLEAR FINISHING
Suppy and apply 2 coats of high quality satin painting to general surfaces of existing walls ˃300mm girth internally including all preparation of surfaces and screeding work on;
Cement rendered general surfaces
A | Girth exceeding 300; wall | 1510 | m2 |  | 0
B | Ditto: not exceeding 300mm wide | 127 | m |  | 0
EXTERNALLY
Cement rendered general surfaces
C | Ditto: But Texacote paint Girth exceeding 300; wall | 975 | m2 |  | 0
D | Ditto; not exceeding 300mm wide | 67 | m |  | 0
| PAINTING AND DECORATIONS CARRIED TO SUMMARY |  |  |  | 0
BILL NR. 3: FURNITURE, FITTINGS AND EQUIPMENT
EXTRACTOR FAN
A | Terminal equipment and fittings 18" industrail extractor fan in high level complete with accessories and installation | 10 | Nr |  | 0
REFRIGERATIONS
B | Supply and install thermocool SKD SC240 R6 show case refrigerator or equal and approve quality 240L capacity | 4 | Nr |  | 0
C | Supply and install fire hydrant and horse reel | 2 | Nr |  | 0
PIPE WORK
D | Allow for general pipe work as may deemed necessary | 2 | Nr |  | 0
| TOTAL FOR FURNITURE, FITTINGS AND EQUIPMENT TO GENERAL SUMMARY |  |  |  | 0
MECHANICAL INSTALLATIONS
Information
Nature and location of the work; the work in this section comprises: (i) drainageand cold water pipe work, fire fighting installation and Airconditioning installation
N13 SANITARY FITTINGS
N13 SANITARY APPLIANCES/FITTINGS
ARMITAGE SHANK OR OTHER APPROVED SANITARY APPLIANCES/ FITTINGS EQUIPMENT, APPLIANCES AND FITTINGS ASSOCIATED WITH SERVICES: SUPPLY, ASSEMBLE AND FIX AS INDICATED IN ENGINEER's DRAWINGS. RATE TO INCLUDE FORJOINTING TO WATER SUPPLY AND DISCHARGE PIPES
A | Close couple water closet, complete with fittings including nessary installation accessories | 5 | nr |  | 0
B | Wash hand basin, complete with pedestal; plastic bottle trap, overflow chain, stay and black plastic plug, pair of 13mm chromium plated easy clean pillar taps to B.S 1010; complete fittings; as Engineer's specification | 5 | nr |  | 0
C | Floor drain: 50mm stainless steel; 50mm drawn copper S-trap, mounted flush with floor finish; with galvanized wire strainer; as Engineer's specification | 5 | nr |  | 0
D | Toilet roll holder; plastic roller and chronium plated body, length 100mm screwed to wall with and including drive screws; as Engineer's Specification | 5 | nr |  | 0
E | Stainless steel soap dispenser fixed to wall | 5 | nr |  | 0
F | Mirror; 4mm silvered float glass; 600×600mm; with arised edges; mounted on walls with and including chromium plated dome-headed drive screws | 5 | nr |  | 0
G | Allow a provisional sum for all piping work to be expended as directed. |  | Sum | 500000
AIR-CONDITIONING/VENTILLATION INSTALLATIONS
U11 TOILET EXTRACTOR FANS EXTRACT UNITS XPELAIR, WOODS OR OTHER APPROVED EQUAL SUPPLY WITH 1.5MM2 3-CORE PVC SHEATED AND INSULATED COLOUR CODED COPPER CABLE AND 5A 3-PIN PLUG; MOUNTING TO STRUCTURE
H | Wall mounted fan; 50Hz; 240V; Extract Capacity 90m3/h; ditto for external building toilets. | 5 | nr |  | 0
MEHANICAL INSTALLATIONS
| To Collections |  |  |  | 0
MECHANICAL INSTALLATIONS CONT'D
A/C AND VENTILATION SYSTEM INSTALLATIONS
Supply, install, test and commission free standing split air conditioning unit complete with its outdoor unit and all necessary integrated controls and infra-red remote control. PANASONIC, SAMSUNG, MIDEA, LG, DAIKIN or approved equal
A | Cooling capacity: 36,000 Btu/hr (18Kw) | 6 | nr |  | 0
Supply, install, test and commission high wall mounted split air conditioning unit complete with its outdoor unit and all necessary integrated controls and infra-red remote control. PANASONIC, SAMSUNG, MIDEA, LG, DAIKIN / equal equivalent
B | Cooling capacity: 18,000 Btu/hr | 6 | nr |  | 0
C | Cooling capacity: 12,000 Btu/hr | 5 | nr |  | 0
S71 FOAM FIRE FIGHTING
Y21 FIRE EXTINGUISHERS
EQUIPMENT, SUPPLY, ASSEMBLE AND INSTALL; RATE TO INCLUDE FOR CONNECTIONS TO PIPELINES; SUPPLY WITH ALL MECHANICAL AND ELECTRICAL FITTINGS ACCESSORIES, ANCILLARIES AND CONTROL COMPONENTS DEEMED NECESSARY FOR A COMPLETE INSTALLATION
Fire extinguisher; hand held; lever operated; to B.S. 5423; ready charged; red painted; with mounting bracket plugged and screwed to wall;
D | Multi- purpose foam type; 9.0 litres capacity; compressed air; class ABC fires (fire rating 5A & 34B) | 3 | nr |  | 0
E | ditto 5kg CO2 Fire extinguisher | 4 | nr |  | 0
S71 FOAM FIRE FIGHTING
| To Collection |  |  |  | 0
Collections
| Page 25 |  |  |  | 0
| Page 26 |  |  |  | 0
MECHANICAL INSTALLATIONS
| Carried to General Summary |  |  |  | 0
ELECTRICAL INSTALLATIONS
V: ELECTRICAL SUPPLY/ POWER/LIGHTING
Information
Nature and Location of the work
The work in this section comprises:
(i) the installation of all work within the internal and external faces of building, up to and including distribution boards, cables light fittings, air conditioners, extractor fans, fire alarms, closed circuit television and communication installations together with associated wiring, conducting and wall switches
(ii) The description of the measured items are not necessarily fully comprehensive but are intended to indicate the particular item of work concerned. The price for the works allows for, conduits, wiring, earthing connection etc. to ensure that the electrical installations functions in such a maaner as to satisfy all the statutory, regulations of Nigeria and the relevant local government institutions and professional bodies
V: ELECTRICAL SUPPLY/POWER/ LIGHTING SYSTEMS
A | Allow a provisional sum of ₦3,00,000.00 (Three Million naira only) for general electrical services installations which include conduits, fittings, wiring and cables |  | Sum | 3000000
W20 TV/CCTV
CLOSED CIRCUITS TELEVISION CAMERA/ SURVELLANCE
Equipment: supply, install, connect up and commission CCTV/SURVELLANCE equipmentas manufactured by SONY, BOSCH or other approved complete with all accessories to form a complete system
C | Allow a provisional sum of ₦1,000,000.00 (One Million Naira only) for the installation, testing and commisioning of closed circuits Television Cameras |  | item | 1000000
ELECTRICAL INSTALLATIONS:
Total Carried to Summary
SUMMARY
A | DEMOLITION, ALTERATION, REPAIRS AND CONSERVATION
B | SUB STRUCTURE |  |  |  | 0
C | CONSTRUCTION OF REINFORCED CONCRETE FRAME STRUCTURE |  |  |  | 0
D | UPPER FLOOR |  |  |  | 0
E | SANDCRETE HOLLOW BLOCK WORK |  |  |  | 0
F | ROOF STRUCTURE AND COVERING |  |  |  | 0
G | STAIRCASE |  |  |  | 0
H | DOORS AND WINDOWS |  |  |  | 0
J | FINISHES |  |  |  | 0
K | PAINTING AND DECORATIONS |  |  |  | 0
L | FURNITURE, FITTINGS AND EQUIPMENT |  |  |  | 0
M | MECHANICAL INSTALLATIONS |  |  |  | 0
N | ELECTRICAL SERVICES INSTALLATIONS |  |  |  | 0
| MEDICAL STORE/OFFICE TO GENERAL SUMMARY |  |  |  | 0
1.35 SITE WORKS
CONCRETE PAVEMENT TO NEW WAREHOUSE
TOP SOIL EXCAVATION
B | Excavate top soil 150mm deep and cart away denris and directed width 8 meter wide | 369 | m2 |  | 0
LEVEL AND COMPACTING
C | Level and compact excavated area to receive concrete work | 369 | m2 |  | 0
LATERITE FILLING
D | Imported laterite filling to receive hard core filling | 54 | m3 |  | 0
HARDCORE
E | Provide and place hardcore 100mm thick to receive concrete | 369 | m2 |  | 0
1.11 INSITU CONCRETE WORKS
F | Provide and place reinforced in-situ concrete C20 in horizontal work not exceeding 300mm thick, in structures ˃5% pured against hardcore | 40 | m3 |  | 0
MESH
G | Provide and place wire mesh A125 $mm thick in mass concrete C20 | 369 | m2 |  | 0
FORMWORK EDGES
H | Formwork to edges of horizontal work less than 500mm thick (150mm) in drive way. | 90 | m |  | 0
INTERLOCKING TILES
J | Provide and lay 60mm thick interlocking tiles on sharp sand beding from entrance of warehouse 1 & 2 to drive way including 1000g polythine underlay. | 90 | m2 |  | 0
| Carried to Summary |  |  |  | 0
DRAINAGE
EXCAVATION
A | Excavate for drainage 400x600 gulter and spread materials around | 17 | m2 |  | 0
1.11 INSITU CONCRETE WORKS
B | Provide and place reinforced in-situ concrete C20 in base and walls 100mm thick of open drainage pured against earth | 5 | m3 |  | 0
REINFORCEMENTS
D | Mild steel bar 10mm- 20mm straight and bent not exceeding 12m long as required on site | 757 | kg |  | 0
FORM WORK
E | Form work to vertical inner sides of grainage walls not exceeding 300mm thick | 35 | m2 |  | 0
METAL GRILL
F | Provide fabricate and install metal grill comprises of 75x75mm equal angle iron welded to both sides of 20mm diameter high yyield steel not exceeding 400mm wide as entrance to warehouse 1 & 2 | 13 | m |  | 0
| Carried to summary |  |  |  | 0
GENERAL SUMMARY
1 | PRELIMINARIES
2 | WAREHOUSE 1 |  |  |  | 0
3 | WAREHOUSE 2 |  |  |  | 0
4 | OFFICE AND CORRIDORS |  |  |  | 0
5 | GATE HOUSE |  |  |  | 0
6 | WAREHOUSE 3 |  |  |  | 0
0
0
7 | SITE WORKS |  |  |  | 0 | 0
0
0
9 | DRAINAGE |  |  |  | 0
| TOTAL |  |  |  | 0
ADD CONTIGENCY
TOTAL
ADD 7.5% VAT
AMOUNT TO TENDER